## Slide 1: Diagnostic accuracy

## Slide 2: Diagnostic accuracy studies
Two types of studies are used to evaluate the accuracy of a diagnostic test:
  Case control studies analyse results from tests done in two separate groups:
    cases who have the condition being tested, and
    controls who do not have the condition
    Case-control studies measure sensitivity and specificity, technical diagnostic accuracy
  Cohort studies analyse results from tests done in one group, the cohort
    Cohort studies measure sensitivity and specificity, as well as positive predictive value and negative predictive value, clinical diagnostic accuracy

## Slide 3: Case-control studies for evaluating diagnostic tests
Case-control studies are useful in early stages of developing a diagnostic test: it is easier and cheaper to obtain samples from people who have already been identified as having or not having the condition
Case-control studies measure sensitivity and specificity (technical diagnostic accuracy)
Case-control studies cannot measure positive and negative predictive values (clinical diagnostic accuracy)
Cases (with the condition)
Controls (without the condition)
FN
FP
TP
TN
TP: Test result +ve
FP: Test result +ve
TN: Test result -ve
FN: Test result -ve
Sensitivity = TP / (TP + FN)
Specificity = TN / (FN + TN)
Sensitivity and specificity are characteristics of the test, not the population
Group by condition status (for denominator)
Group by condition status for denominator
Group by condition status
Group by condition status

## Slide 4: Cohort studies for evaluating diagnostic tests
Cohort studies are useful in the later stages of developing a diagnostic test because they allow positive and negative predictive values to be measured, as well as sensitivity and specificity.
Cohort studies evaluate both technical and clinical accuracy.
With the condition
Without the condition
FN
FP
TP
TN
Sensitivity = TP / (TP + FN)
Specificity = TN / (FN + TN)
TP: Test result +ve
FP: Test result +ve
TN: Test result -ve
FN: Test result -ve
Sensitivity and specificity are characteristics the test, not the population
Group by condition status (for denominator)
Group by condition status

## Slide 5: Cohort studies for evaluating diagnostic tests
FN
TP
TN
FP
Cohort studies are useful in the later stages of developing a diagnostic test because they allow positive and negative predictive values to be measured, as well as sensitivity and specificity.
Cohort studies evaluate both technical and clinical accuracy.
With the condition
Without the condition
Positive predictive value =
TP / (TP + FP)
Negative predictive value =
TN / (FN + TN)
TP: Test result +ve
FP: Test result +ve
TN: Test result -ve
FN: Test result -ve
Predictive values are characteristics of the test and the population
Group by test result (for denominator)
Group by condition status

## Slide 6: Acting on the result of a diagnostic test
FN
TP
TN
FP
Because no test is perfect, there is always a chance of a result being misleading.
A person’s rational decision will be to act if the predictive value of the test implies that there is a net benefit from the combined chances and values of good and poor outcomes .
TP: Test result +ve
FP: Test result +ve
TN: Test result -ve
FN: Test result -ve
Treatment decisions depend on the likelihoods of the outcomes, and the values placed on them
FN: do not treat — poor outcome likely
TP: treat — good outcome likely
TN: do not treat — good outcome likely
FP: treat — poor outcome likely
Group by test result
Group by test result

## Slide 7: Predictive values depend on sensitivity, specificity, and prevalence

## Slide 8: Predictive values depend on sensitivity, specificity, and prevalence